## Sheet1
Presbytery of Port Phillip East
Manse Inspection Report
| Congregation - |  | Glen Waverley
| For Manse Located at - |  | 17 Southdown Avenue, Glen Waverley
| Church Council Secretary |  | David Morgan
| Address : |  | councilsec@gwuc.org.au
Phone
| Inspection Team :- |  | Ian & Jill Cayzer
| Church Representative |  | Fairlie Mackinnon & Robert Wood (f.mackinnon@bigpond.com)
| Date of Inspection |  | 3rd December, 2022
| Room and Item | Good | Fair | Poor | Comments ( If Any )
1 | Exterior
1.1 | Entrance | X
1.1.1 | Access | X
1.1.2 | Paths | X
1.1.3 | Steps | X |  |  | Nil
1.1.4 | Handrails |  |  |  | Nil needed
1.1.5 | Entry for disabled | X
1.1.6 | Gate to front street |  |  | X | Does not shut properly
1.1.7 | Gate to church |  | X |  | Does not shut properly
1.1.8 | Lights | X
1.1.9 | Security lights | X |  |  | Both front and back
1.1.10 | Letter box / PO Box | X
1.2 | Doors / Walls
1.2.1 | Locks | X
1.2.2 | Front Door | X
1.2.3 | Security doors | X |  |  | Both sides
1.2.4 | Door bell |  |  | X | Need a bell on both sides of the house?
1.2.5 | Separate study entrance |  |  |  | Nil
1.3 | Fences
1.3.1 | Front |  |  |  | Nil
1.3.2 | Side left | X
1.3.3 | Side right |  | X |  | Low fence, not in the best condition
1.3.4 | Rear | X
1.3.5 | Security of backyard |  | X |  | See above

## Sheet2
| Room and Item | Good | Fair | Poor | Comments ( If Any )
1.4 | Storage
1.4.1 | Garage |  | X |  | Door to back yard not accessible
1.4.2 | Garden shed |  |  |  | Nil
1.4.3 | Storage for bicycles etc | X
1.4.4 | Clothes line | X
1.5 | Drainage
1.5.1 | Spouting - State of repair | X
1.5.2 | Spouting - State of painting | X
1.5.3 | Stormwater drains | X
1.5.4 | Sewerage / Septic tank | X
1.6 | Garden
1.6.1 | Garden beds |  | X |  | Working bee needed
1.6.2 | Trees |  | X |  | minimal
1.6.3 | Water taps | X
1.6.4 | Water tank |  |  |  | Nil
1.6.5 | Irrigation system |  |  |  | Nil
1.7 | Roof
1.7.1 | Quality of roof | X
1.7.2 | Pointing of ridges & valleys | X
1.7.3 | Barge boards | X
1.8 | Chimney
1.9 | Foundations
1.9.1 | Access under house |  |  |  | Nil - concrete slab
1.9.2 | Stumps
1.9.3 | Dampness
1.1 | Windows
1.10.1 | Frames | X
1.10.2 | Glazing | X
1.10.3 | Flywire screens | X
1.10.4 | Sunblinds | X
1.11 | Paintwork / Finish
1.11.1 | Cladding
1.11.2 | Weatherboard
1.11.3 | Brickwork | X
1.12 | Cable Connections | YES | NO
1.12.1 | NBN | Yes
1.12.2 | Other

## Sheet3
| Room and Item | Good | Fair | Poor | Comments ( If Any )
2 | Interior
2.1 | Plumbing
2.1.1 | Water pressure | X
2.1.2 | Fittings | X
2.2 | Services
2.2.1 | Gas | X
2.2.2 | Water - Mains | X
2.2.3 | Hot Water | X
2.2.4 | Phones - Location |  |  |  | No observable landline
2.2.5 | Location of switchboard | X
2.2.6 | Safety cut-off switches | X
2.2.7 | Surge control switches | X
2.2.8 | Heating | X
2.2.9 | Smoke detectors - quantity. | X |  |  | 1 downstairs, 2 upstairs
2.2.10 | Television antenna | X
2.2.11 | Cooling / Airconditioning/ Fans | X
2.2.12 | Solar Panels - electricity | X
2.2.13 | Solar Panels - hot water | X
2.3 | Entrance
2.3.1 | Storage |  |  |  | Nil
2.3.2 | Access to rooms | X
2.3.3 | Heating | X
2.4 | Study
2.4.1 | Blinds / Curtains | X
2.4.2 | Floor / Floor Coverings | X
2.4.3 | Shelving | X
2.4.4 | Cupboards / Drawers | X
2.4.5 | Painting | X
2.4.6 | Plaster finish | X
2.4.7 | Ceiling / Light Fittings | X
2.4.8 | Power Points | X
2.4.9 | Telephone Extension Point |  |  |  | No observable landline
2.4.10 | Heating / Cooling / Fans | X
2.4.11 | Windows / Screens | X
2.4.12 | Door | X
2.4.13 | Privacy | X

## Sheet4
| Room and Item | Good | Fair | Poor | Comments ( If Any )
2.5 | Lounge |  |  |  | At the front of the house
2.5.1 | Carpets | X
2.5.2 | Drapes/Blinds | X
2.5.3 | Heating / Cooling | X
2.5.4 | Light fittings | X
2.5.5 | Power points | X
2.5.6 | Shelving |  |  |  | Nil
2.5.7 | Painting | X
2.5.8 | Plaster | X
2.5.9 | Door |  |  |  | Open plan to the main entrance
2.5.10 | T.V. aerial point | X
2.6 | Dining
2.6.1 | Carpets | X
2.6.2 | Drapes/Blinds | X
2.6.3 | Heating / Cooling | X
2.6.4 | Light fittings | X
2.6.5 | Power points | X
2.6.6 | Painting |  | X
2.6.7 | Plaster | X
2.6.8 | Door |  |  |  | Open plan
2.7 | Family Room
2.7.1 | Carpets |  | X |  | One tear can be seen - repairable?
2.7.2 | Drapes/Blinds | X
2.7.3 | Heating / Cooling | X
2.7.4 | Light fittings | X
2.7.5 | Power points | X
2.7.6 | T.V. aerial point | X
2.7.7 | Painting | X
2.7.8 | Plaster | X
2.7.9 | Door to rest of house |  |  |  | Nil - open plan
2.7.10 | Door to rear of house |  | X |  | Sliding door very stiff to slide
2.8 | Kitchen
2.8.1 | Sink | X
2.8.2 | Hotplates | X
2.8.3 | Oven | X
2.8.4 | Floor coverings | X
2.8.5 | Cupboard space | X
2.8.6 | Condition of cupboards | X
2.8.7 | Pantry | X
2.8.8 | Tiling | X
2.8.9 | Light fittings | X
2.8.10 | Power points | X
2.8.11 | Exhaust fan / Range hood | X
2.8.12 | Dishwasher | X
2.8.13 | Location for microwave | X
2.8.14 | Painting | X
2.8.15 | Plaster | X
2.8.16 | Door |  |  |  | Open plan

## Sheet5
| Room and Item | Good | Fair | Poor | Comments ( If Any )
2.9 | Bathroom & Toilet
2.9.1 | Hand basin & fittings | X
2.9.2 | Bath & fittings | X
2.9.3 | Shower (Separate) & fittings | X
2.9.4 | Vanity unit | X
2.9.5 | Toilet | X
2.9.6 | Tiling | X
2.9.7 | Plumbing | X
2.9.8 | Ceiling / Light Fittings | X
2.9.9 | Windows / Screens | X
2.9.10 | Blinds / Curtains | X
2.9.11 | Power Points | X
2.9.12 | Mirror / Cabinet |  |  |  | No cabinet
2.9.13 | Towel Rails |  | X |  | One broken
2.9.14 | Heating | X
2.9.15 | Exhaust Fan | X
2.9.16 | Painting | X
2.9.17 | Plaster | X
2.9.18 | Door | X
2.1 | Laundry
2.10.1 | Sink / Cabinet & Taps | X
2.10.2 | Facilities for washing machine | X
2.10.3 | Facilities for drying machine | X
2.10.4 | Storage cupboard | X
2.10.5 | Ventilation / Exhaust fan |  |  |  | Nil
2.10.6 | Ceiling / Light Fittings | X
2.10.7 | Power Points | X
2.10.8 | Windows / Screens | X
2.10.9 | Blinds / Curtains | X |  |  | No curtains
2.10.10 | Tiling | X
2.10.11 | Painting |  | X
2.10.12 | Plaster | X
2.10.13 | Door | X

## Sheet6
| Room and Item | Good | Fair | Poor | Comments ( If Any )
2.11 | Main Bedroom
2.11.1 | Blinds / Curtains | X
2.11.2 | Floor / Floor Coverings | X
2.11.3 | Wardrobe / Drawers | X |  |  | Walk in, no drawers
2.11.4 | Painting | X
2.11.5 | Plaster | X
2.11.6 | Ceiling / Light Fittings | X
2.11.7 | Power Points | X
2.11.8 | TV Point | X
2.11.9 | Telephone Extension Point |  |  |  | Nil
2.11.10 | Heating / Cooling / Fans | X
2.11.11 | Windows / Screens | X
2.11.12 | Door | X
En-suite
2.11.13 | Hand basin & fittings | X
2.11.14 | Shower & fittings | X
2.11.15 | Shower Screen | X
2.11.16 | Toilet | X
2.11.17 | Tiling | X
2.11.18 | Ceiling / Light Fittings | X
2.11.19 | Power Points | X
2.11.20 | Floor / Floor Coverings | X
2.11.21 | Exhaust Fan | X
2.11.22 | Mirror / Cabinet | X |  |  | No cabinet
2.11.23 | Towel Rails | X
2.11.24 | Heating | X
2.11.25 | Windows / Screens | X
2.11.26 | Blinds / Curtains | X
2.11.27 | Painting | X
2.11.28 | Plaster | X
2.11.29 | Door | X
2.12 | Bedroom 2 |  |  |  | Front to street
2.12.1 | Blinds / Curtains | X
2.12.2 | Floor / Floor Coverings | X
2.12.3 | Wardrobe / Drawers | X |  |  | No drawers
2.12.4 | Painting |  | X
2.12.5 | Plaster | X
2.12.6 | Ceiling / Light Fittings | X
2.12.7 | Power Points | X
2.12.8 | Windows / Screens | X
2.12.9 | TV Point |  |  |  | Nil
2.12.10 | Door | X

## Sheet7
| Room and Item | Good | Fair | Poor | Comments ( If Any )
2.13 | Bedroom 3
2.13.1 | Blinds / Curtains | X
2.13.2 | Floor / Floor Coverings |  | X
2.13.3 | Wardrobe / Drawers | X |  |  | No drawers
2.13.4 | Painting |  | X
2.13.5 | Plaster | X
2.13.6 | Ceiling / Light Fittings | X
2.13.7 | Power Points | X
2.13.8 | Windows / Screens | X
2.13.9 | TV Point |  |  |  | Nil
2.13.10 | Door | X
2.14 | Bedroom 4
2.14.1 | Blinds / Curtains | X
2.14.2 | Floor / Floor Coverings |  | X |  | Stained
2.14.3 | Wardrobe / Drawers | X |  |  | No drawers
2.14.4 | Painting |  | X
2.14.5 | Plaster | X
2.14.6 | Ceiling / Light Fittings | X
2.14.7 | Power Points | X
2.14.8 | Windows / Screens | X
2.14.9 | TV Point | X
2.14.10 | Door | X
2.15 | Front toilet and washroom
2.15.1 | Blinds / Curtains |  |  |  | Nil
2.15.2 | Floor / Floor Coverings | X |  |  | Tiles
2.15.3 | Storage
2.15.4 | Painting | X
2.15.5 | Plaster | X
2.15.6 | Lighting | X
2.15.7 | Power points | X
2.15.8 | Door | X
2.16 | Storage - General
2.16.1 | Wardrobes | X
2.16.2 | Linen press | X
2.16.3 | Pantry | X
2.16.4 | Other | X |  |  | Under stairs at ground floor level
2.17 | State of repair | X
2.18 | State of internal painting |  | X
2.19 | Ceiling Insulation | X

## Summary
3 | Other Matters - Comment
This manse is a 2 storey house built in 2007. As a newish house it is in quite good condition - as it should be.
The previous resident advises, "Just when coming through the back gate, there is a step up and then where the gutter and back yard meet if people aren’t watching their feet or aware they have tended to trip down the gutter." Please check this advice.
4 | Readiness for occupation
After attention to the tasks listed below, this manse is ready for occupation.
Tasks for action
1 | The carpets need a steam clean. Not all stains will be removable.
2 | The garden will benefit from a working bee.
3 | The outside windows need cleaning, leading to the issue of how to manage those on the second storey.
4 | The quality of the painting varies from good to fair. A complete repaint would be a good investment.
5 | There do not appear to be door bells at either side of the house.
6 | The side gates, particularly the one to the front street, need attention.
7 | Check that all the appropriate keys are available. One congregation member struggled to open some doors with the keys provided.
8 | Check the tripping hazard at the back gate.
9
10
OTHER SUGGESTIONS:
A.
B.
C.